# 2025 Maintenance Report

Items accomplished

- Paint – Continued progress on exterior paint of all buildings. Buildings started last year from bottom up. Now ~halfway complete. Will continue this in 2026.

- Heat tape- All old heat tapes are removed. These heat tapes had not been used in prior years and had been agreed upon to be more harm than good. Additionally, many were in various states of disrepair making giving our buildings a poor exterior look. Blank breakers replaced these breakers in building panels.

- PRV – Pressure reducer valves have been replaced in buildings 1 and 8. This is building wide infrastructure to ensure proper function of irrigation system and proper pressure in all units for building.

- Removed faulty roof vent from building 2.

- HOA Insurance – The association voted to pass a resolution to require all unit owners to carry liability insurance for their unit with a recommended policy value of $1 million. This policy does not allow bbq grills to be within 10’ of any building. Please remove bbq’s from property, or HOA will remove these at your expense. Please ensure your property is properly insured and be prepared to show proof of insurance to board when requested.

Items in progress

- Modified Cold Roofs – We began installation of modified cold roofs to combat ice damming in building 5,6,7 in 2025. Remaining aspects of these buildings will continue this late summer/fall.

Miscellaneous items

- Board to implement lockboxes on exterior of each unit for key storage to each unit. This is to ensure access to each unit in event of emergency – as recommended by Big Sky Fire Department. Electronic keypad codes to be communicated to board where applicable.